## Instruction
Generator Resource Data Template (GRDT) - USE FOR NEW GENERATOR IMPLEMENTATION
Version GRDT.18.0
Report generation timestamp :
SCID :
Resource Type :
Resource ID :
Trade Date :
Version | Effective Date | Description of Change
2.1 | 2009-04-01 | Initial creation of new market Generator Resource Data Template
3.0 | 12/7/2010 | Add new columns and tabs to accommodate Multi Stage Generator modeling:
New fields:
RESOURCE tab: MSG_YN, SUPPLIED_CONFIG_YN, STARTUP_RAMP_TIME
New tabs:
MSG_CONFIG
TRANSITION
CONFIG_RAMP
CONFIG_HEAT
CONFIG_STRT
CONFIG_REG
CONFIG_RREG
CONFIG_ROPR
4.0 | 6/14/2011 | Changes for independendent election of registered and proxy cost options:
RESOURCE tab:
Remove COST_BASIS_TYPE
Add ML_COST_BASIS_TYPE and SU_COST_BASIS_TYPE
Changes for previous project implementations: AS HASP, PDR
New fields:
RESOURCE tab:
Add CERT_DAM, CERT_RTM, HR_PRE_DISP
5.0 | October 2011 | Changes for Fall Release 2011:
RESOURCE tab:
Add DISCRETE_DISP (for Demand Response)
Add MIN_DWN_TM_GP, MIN_DWN_TM_PG (for Grouping Constraints)
6.5 | Fall Release 2012 | Changes for Fall Release 2012:
RESOURCE tab:
Add new fields: NGR, REM, MIN_CONT_ENERGY_LIMIT, MAX_CONT_ENERGY_LIMIT, CURT_ENERGY_LIMIT,
ENERGY_EFFIC, CHP, RMTG_MAX_ON_PEAK, RMTG_ON_PEAK_EXPIRE_DT, RMTG_MAX_OFF_PEAK,
RMTG_OFF_PEAK_EXPIRE_DT, GHG_EMISSION_RATE, GHG_COMPLIANCE_OBLIG
MSG_CONFIG tab:
Add new field: STARTUP_HEAT_INPUT
7.0 | Spring Release 2013 | Changes for Spring Release 2013:
RESOURCE tab:
Remove field: CERT_REG
Add new fields: CERT_REG_DOWN, CERT_REG_UP
MSG_CONFIG tab:
Remove field: CERT_REG
Add new fields: CERT_REG_DOWN, CERT_REG_UP
8.0 | Spring Release 2014 | Changes for Spring Release 2014:
Add new columns:
RESOURCE tab:
Remove fields: RA Flag, RA Capacity
Add new fields: CERT_BLKSTRT, ADDER_AMT, VER_YN, FORECAST_SELECTION
STARTUP tab: Start_Up MMA
MSG_CONFIG tab:
Remove field: Default RA Provider
Add new fields: ADDER_AMT, RA_RANGE_MIN, RA_RANGE_MAX
TRANSITION tab:
Remove field: Default RA Path Sequence
CONFIG_STRT tab: Start_Up MMA
9.1 | Fall Release 2014 | Changes for EIM 2014:
Add new columns:
RESOURCE tab:
Add new fields: EIM_PARTICIPATING, BAA
Add new tab:
GEN_RES_AGGR: Contains resource ID, name, and Pmax, of child units belonging to aggregate resources - Read-only
10.0 | Fall Release 2015 | Changes:
RESOURCE tab:
Add new field: GHG_COST
MSG_CONFIG tab:
Add new field: STARTUP_YN
11.0 | Fall Release 2016 | Changes:
RESOURCE tab:
Remove fields: GHG_COST, MOO_FLAG, STRANDED_LOAD
Add field: OPER_MAINT_ADDER_TYPE
MSG_CONFIG tab:
Remove field: STARTUP_HEAT_INPUT
TRANSITION tab:
Remove fields: Max Transition Cost, Transition Fuel, Transition Energy
Add fields: Transition Midpoint MW, Transition Midpoint Time
12.0 | Spring Release 2018 | Changes:
RESOURCE tab:
Add fields: ELECTRIC_REGN, POWER_PRICE_HUB, MKT_MAX_STRT (non-modifiable), COM_MW
RAMPRATE tab:
Add field: Market Ramp Rate (non-modifiable)
REG RAMP tab:
Add field: Market Regulation Ramp Rate (non-modifiable)
OP RES RAMP tab:
Add field: Market Operating Res Ramp Rate (non-modifiable)
MSG_CONFIG tab:
Add field: IMPLIED_STRTS
TRANSITION tab:
Add fields: Market Max Daily Transitions (non-modifiable), Implied Starts
CONFIG_RAMP tab:
Add field: Market Ramp Rate (non-modifiable)
CONFIG_RREG tab:
Add field: Market Regulation Ramp Rate (non-modifiable)
CONFIG_ROPR tab:
Add field: Market Operating Res Ramp Rate (non-modifiable)
13.0 | Fall Release 2019 | Changes:
RESOURCE tab:
Add fields: DR_TYPE, DEFAULT_ELECTRIC_HUB, HYDRO_RANK_LMPM, MAX_STOR_HORIZON, CAR, BID_DISP_OPT
ELECTRIC_PRICE_HUB tab: New tab
14.0 | Fall Release 2020 | Changes:
RESOURCE tab:
Add fields: SLOW_DR, APPLY_WHLSLE_CHARGE, METER_DATA_INTERVAL, RUN_OF_RIVER
Remove field: MIN_DISP_LEVEL
16.0 | Fall Release 2021 | Changes:
RESOURCE tab:
Add fields:
CO_LOCATED (Hybrid Resource Phase 1, active)
VER_NGR (Hybrid Resource Phase 2-B, activation Spring 2022)
MAX_DAILY_RUN_TIME (ESDER 4, activation 11/1/2021)
STORAGE_RANK_LMPM (ESDER 4, activation 11/1/2021)
VARIABLE COST (ESDER 4, activation 11/1/2021)
SU/ML Flag (VOM, activation 1/1/2022)
ENERGY_OM_ADDER (old column OPER_MAINT_COST renamed)
ENERGY_OM_ADDER_TYPE (old column OPER_MAINT_ADDER_TYPE renamed)
ML ADDER (VOM, activation 1/1/2022)
SU ADDER (VOM, activation 1/1/2022)
JOU (JOU, activation Spring 2022)
JOU_PCT_OWNERSHIP (JOU, activation Spring 2022)
CONFIGURATION tab:
Add fields:
ML ADDER (VOM, activation 1/1/2022)
SU ADDER (VOM, activation 1/1/2022)
ENERGY_OM_ADDER (VOM, activation 1/1/2022)
HYBRID_COMPONENTS tab (new) (Hybrid Resource Phase 2-B, activation date Spring 2022)
17.0 | Fall Release 2022 | Changes:
RESOURCE tab:
HYBRID_COMPONENTS tab: (Hybrid Resource Phase 2-B, activation date moved to Fall 2022)
Add fields: MIN_CONT_ENERGY_LIMIT, MAX_CONT_ENERGY_LIMIT, ENERGY_EFFIC
18.0 | Fall Release 2023 | Changes:
RESOURCE tab:
Add field: CAP_TEST_FTS_EXEMPT (RSEE-2)
Remove fields: GHG_EMISSION_RATE, GHG_COMPLIANCE_OBLIG (move to new tab GHG_EMISSION_RATE)
GHG_EMISSION_RATE tab (new) (WA GHG)

## Definition
For data definitions and related business rules, please refer to the CAISO website at the following location:
www.caiso.com
www.caiso.com/1f94/1f94cd5447620.html

## Code
Air Quality Managment District
Code | Description | Fuel Type | Description | Prime Mover Technology | Description
AMAD | Amador | BGAS | Bio Gas (Landfill, Sewage, Digester, etc.) | CCYC | Combined Cycle
ANTV | Antelope Valley | BIOM | Biomass | GTUR | Gas Turbine
BUTT | Butte | COAL | Coal | HYDR | Hydro Turbine
CALA | Calaveras | DDR | Dispatchable Demand Response | OTHR | Other
COLU | Colusa | DIST | Distillate | PHOT | Photovoltaic
ELDO | El Dorado | GAS | Natural Gas | PTUR | Hydro Pump-Turbine
FRVR | Feather River | GEOT | Geothermal | PUMP | Pump
GBUN | Great Basin Unified | HRCV | Heat Recovery | RECP | Reciprocating Engine
GLEN | Glenn | LESR | Limited Energy Storage Resource | STUR | Steam Turbine
IMPE | Imperial | NUCL | Nuclear | SYNC | Synchronous Condenser
KERN | Kern | OIL | Oil | WIND | Wind Turbine
LAKE | Lake | OTHR | Other
LASS | Lassen | SOLR | solar
MARI | Mariposa | WAST | Waste to Energy
MBUN | Monterey Bay Unified | WATR | Water
MEND | Mendocino | WIND | Wind
MODO | Modoc
MOJD | Mojave Desert
NCUN | North Coast Unified
NSER | Northern Sierra
NSON | Northern Sonoma
OTHR | Other Region
PLAC | Placer
SACM | Sacramento Metro
SBRB | Santa Barbara
SCOA | South Coast
SDIE | San Diego
SFBA | San Francisco Bay Area
SHAS | Shasta
SISK | Siskiyou
SJVU | San Joaquin Valley Unified
SLUO | San Luis Obispo
TEHA | Tehama
TUOL | Tuolumne
VENT | Ventura
YOSO | Yolo/Solano

## RESOURCE
PGA Name | Scheduling Coordinator ID | Resource ID | Resource Name | Resource Type | Aggregate? | Demand Response Type | Slow Demand Response | Energy Type | Fuel Type | Prime Mover Technology | Generator Type | Fuel Region | Electric Region | Power Price HUB | Default Electric Pricing Hub | Air Quality Managment District | Maximum Generation Capacity | Minimum Generation Capacity | Minimum On Time | Maximum On Time | DR Resources Only | Minimum Off Time | Maximum Startups Per Day | Market Maximum Startups Per Day | Minimum Load Cost | Minimum Load Cost Basis | Startup Cost Basis | Maximum Pump Capacity | Pumping Minimum Cost | Pumping Factor | Pump Maximum Daily Startups | Pump Minimum Up Time | Pump Minimum Down Time | Gen-to-Pump Minimum Down Time | Pump-to-Gen Minimum Down Time | Pump Maximum Shutdown Cost | Pump Shutdown Time | Variable Cost Option | Negotiated Rate Option | LMP Option | Storage DEB Option | Hydro DEB Option | Maximum Storage Horizon | Reserve Capacity: Spin | Reserve Capacity: Non-Spin | Certified PIRP | Must Offer Obligation Qualified | Startup Code Type | Participating Generator Agreement Flag | Commercial Operation for Market MW | Constrained Output Generator Flag | Certified for Black Start | Certified for DA Market | Certified for RT Market | Certified for RUC? | Market Power Mitigation Participation Flag | Certified for AS: Regulation Down | Certified for AS: Regulation Up | Certified for AS: Spin | Certified for AS DAM: Non-Spin | Certified for AS RTM: Non-Spin | MSS Load Following Down | MSS Load Following Up | FERC Qualifying Facility Flag | Use Limit | Conditionally Available Resource | Energy O&M Adder | Energy O&M Adder Type | Minimum Load O&M Adder | Start Up O&M Adder | ML & SU O&M Adder Indicator (Default or Negotiated) | Priority Type | Dispatchable | Discrete Dispatch | Bid Dispatchable Option - DR | RMR | Maximum Ramp Rate | Price Setter - DAM | Price Setter - RTM | Multi Stage Generator Flag | Startup Ramp Time | Supplied Configuration Flag | Hourly Pre-Dispatch | Non-Generator Resource | Storage-based Variable Cost | Apply Wholesale Charge | Regulation Energy Management | Minimum Continuous Energy Limit | Maximum Continuous Energy Limit | Curtailment Energy Limit | Energy Efficiency | Combined Heat and Power Resource | RMTG Max On Peak | RMTmax On Peak Expiration Date | RMT Max Off Peak | RMT Off Peak Expiration Date | Min Load Major Maintenance Adder | Variable Energy Resource Flag | Forecast Selection | Co-Located Resource | VER NGR | Meter Data Interval | Run of River | Energy Imbalance Market Participating Flag | Balancing Authority Area | Export Supported | Joint Owned Unit | Percent Ownership for Joint Owned Units | Capacity Test Failed-To-Start Rule Exemption | Comment
The holder's name on the Agreement with ISO (PGA, MSS, etc.) | From SC Letter (4-character ID) | ISO-defined resource ID | Name of resource on Agreement Schedule (Schedule 1 of PGA, Schedule 14 of MSS, etc.) | RES_TYPE | AGGREGATE_YN | DR_TYPE | SLOW_DR | ENERGY_TYPE | From Agreement Schedule | From Agreement Schedule | GEN_TYPE | FUEL_REGN_TYPE | ELECTRIC_REGN | POWER_PRICE_HUB | DEFAULT_ELECTRIC_HUB | AQM_DIST_TYPE | MAX_GEN | MIN_GEN | MIN_ON | MAX_ON | MAX_DAILY_RUN_TIME | MIN_OFF | MAX_STRT | MKT_MAX_STRT | MIN_LOAD_COST | ML_COST_BASIS_TYPE Registered (REGC) or Proxy (PRXC) | SU_COST_BASIS_TYPE Registered (REGC) or Proxy (PRXC) | MAX_PUMP | MIN_PUMP_CST | PUMPING_FACTOR | PUMP_MAX_STRT | PUMP_MIN_UP_TM | PUMP_MIN_DWN_TM | MIN_DWN_TM_GP | MIN_DWN_TM_PG | MAX_PUMP_SD_CST | PUMP_SHTDWN_TM | COST_RANK_LMPM | NEGO_RANK_LMPM | PRC_RANK_LMPM | STORAGE_RANK_LMPM | HYDRO_RANK_LMPM | MAX_STOR_HORIZON | RSRV_CAP_SPIN | RSRV_CAP_NSPIN | CERT_PIRP | MOO_QUALIFIED | STARTUP_CD_TYPE | PGA_PART | COM_MW | COG | CERT_BLKSTRT | CERT_DAM | CERT_RTM | CERT_RUC | LMPM | CERT_REG_DOWN | CERT_REG_UP | CERT_SPIN | CERT_NSPIN_DAM | CERT_NSPIN_RTM | MSS_LD_FLNG_DWN | MSS_LD_FLNG_UP | QF | USE_LIMIT | CAR | ENERGY_OM_ADDER | ENERGY_OM_ADDER_TYPE | ML_ADDER | SU_ADDER | ML/SU_ADDER_TYPE | PRIOR_TYPE | DISP | DISCRETE_DISP | BID_DISP_OPT | RMR | MAX_RR | PRC_SET_DAM | PRC_SET_RTM | MSG_YN | STARTUP_RAMP_TIME | SUPPLY_CONFIG_YN | HR_PRE_DISP | NGR | STORAGE_VARIABLE_COST | APPLY_WHLSLE_CHARGE | REM | MIN_CONT_ENERGY_LIMIT | MAX_CONT_ENERGY_LIMIT | CURT_ENERGY_LIMIT | ENERGY_EFFIC | CHP | RMTG_MAX_ON_PEAK | RMTG_ON_PEAK_EXPIR_DT | RMTG_MAX_OFF_PEAK | RMTG_OFF_PEAK_EXPIR_DT | ADDER_AMT | VER_YN | FORECAST_SELECTION | CO_LOCATED | VER_NGR | METER_DATA_INTERVAL | RUN_OF_RIVER | EIM_PARTICIPATING | BAA | EXP_SUPPORT | JOU | JOU_PCT_OWNERSHIP | CAP_TEST_FTS_EXEMPT
|  |  |  | GEN | Y or N | [20 empty] | PRXC | PRXC | [10 empty] | 1 | 2 | 3 | [39 empty] | N
PGA_NAME | SC_ID | RES_ID | RES_NAME | RES_TYPE | AGGREGATE_YN | DR_TYPE | SLOW_DR | ENERGY_TYPE | FUEL_TYPE | GEN_TECH_TYPE | GEN_TYPE | FUEL_REGN_TYPE | ELECTRIC_REGN | POWER_PRICE_HUB | DEFAULT_ELECTRIC_HUB | AQM_DIST_TYPE | MAX_GEN | MIN_GEN | MIN_ON | MAX_ON | MAX_DAILY_RUN_TIME | MIN_OFF | MAX_STRT | MKT_MAX_STRT | MIN_LOAD_COST | ML_COST_BASIS_TYPE | SU_COST_BASIS_TYPE | MAX_PUMP | MIN_PUMP_CST | PUMPING_FACTOR | PUMP_MAX_STRT | PUMP_MIN_UP_TM | PUMP_MIN_DWN_TM | MIN_DWN_TM_GP | MIN_DWN_TM_PG | MAX_PUMP_SD_CST | PUMP_SHTDWN_TM | COST_RANK_LMPM | NEGO_RANK_LMPM | PRC_RANK_LMPM | STORAGE_RANK_LMPM | HYDRO_RANK_LMPM | MAX_STOR_HORIZON | RSRV_CAP_SPIN | RSRV_CAP_NSPIN | CERT_PIRP | MOO_QUALIFIED | STARTUP_CD_TYPE | PGA_PART | COM_MW | COG | CERT_BLKSTRT | CERT_DAM | CERT_RTM | CERT_RUC | LMPM | CERT_REG_DOWN | CERT_REG_UP | CERT_SPIN | CERT_NSPIN_DAM | CERT_NSPIN_RTM | MSS_LD_FLNG_DWN | MSS_LD_FLNG_UP | QF | USE_LIMIT | CAR | ENERGY_OM_ADDER | ENERGY_OM_ADDER_TYPE | ML_ADDER | SU_ADDER | ML/SU_ADDER_TYPE | PRIOR_TYPE | DISP | DISCRETE_DISP | BID_DISP_OPT | RMR | MAX_RR | PRC_SET_DAM | PRC_SET_RTM | MSG_YN | STARTUP_RAMP_TIME | SUPPLY_CONFIG_YN | HR_PRE_DISP | NGR | STORAGE_VARIABLE_COST | APPLY_WHLSLE_CHARGE | REM | MIN_CONT_ENERGY_LIMIT | MAX_CONT_ENERGY_LIMIT | CURT_ENERGY_LIMIT | ENERGY_EFFIC | CHP | RMT_MAX_ON_PEAK | RMT_MAX_ON_PEAK_EXP_DT | RMT_MAX_OFF_PEAK | RMT_MAX_OFF_PEAK_EXP_DT | ADDER_AMT | VER | FORECAST_SELECTION | CO_LOCATED | VER_NGR | METER_DATA_INTERVAL | RUN_OF_RIVER | EIM_PARTICIPATING | BAA | EXP_SUPPORT | JOU | JOU_PCT_OWNERSHIP | CAP_TEST_FTS_EXEMPT
Participating, non-participating, and MSG resources
Participating only
MSG only
CAISO will populate or leave null
Note on J3: caiso: Must be one of these: BGAS BIOM COAL DDR DIST GAS GEOT HRCV HYBD LESR NUCL OIL OTHR SOLR WAST WATR WIND
Note on K3: caiso: See list on Code tab Must be one of these: CCYC GTUR HYDR OTHR PHOT PTUR PUMP RECP STUR SYNC WIND
Note on M3: caiso: For full list of available fuel regions, see here: [http://www.caiso.com/Documents/FuelRegion_ElectricRegionDefinitions.xlsx] New resources will be assigned to the generic fuel region of the Balancing Area.
Note on N3: caiso: For full list of available electric regions, see here: [http://www.caiso.com/Documents/FuelRegion_ElectricRegionDefinitions.xlsx] New resources will be assigned to the electric region that corresponds to the generic fuel region of the Balancing Area.
Note on T3: caiso: Leave blank if no constraint
Note on W3: caiso: Must be greater than or equal to the startup time in segment 1 of STARTUP tab
Note on Z3: caiso: Provide a value only if Registered Cost methodolodgy is elected for MLC. Otherwise, leave blank
Note on AA3: caiso: Registered Cost option is available only to Use Limited resources.
Note on AB3: caiso: Registered Cost option is available only to Use Limited resources.
Note on AM3: caiso: This ranking applies to the calculation methodology for Default Energy Bid Curve. Cost-1, Negotiated-2, Price-3 is the default ranking. If a negotiated default energy bid curve is established, Negotiated-1, Cost-2, Price-3. Price-based methodology requires 90 days of price data.
Note on AN3: caiso: This ranking applies to the calculation methodology for Default Energy Bid Curve. Cost-1, Negotiated-2, Price-3 is the default ranking. If a negotiated default energy bid curve is established, Negotiated-1, Cost-2, Price-3. Price-based methodology requires 90 days of price data.
Note on AO3: caiso: This ranking applies to the calculation methodology for Default Energy Bid Curve. Cost-1, Negotiated-2, Price-3 is the default ranking. If a negotiated default energy bid curve is established, Negotiated-1, Cost-2, Price-3. Price-based methodology requires 90 days of price data.
Note on AP3: caiso: This option is available to Storage resources only. Leave blank for all others. This ranking applies to the calculation methodology for Default Energy Bid Curve. Cost-1, Negotiated-2, Price-3 is the default ranking, etc. If a negotiated default energy bid curve is established, Negotiated-1, Cost-2, Price-3. Price-based methodology requires 90 days of price data.
Note on AQ3: caiso: This option is available to Hydro resources only and requires registration of the Maximum Storage Horizon with supporting documentaion. Leave blank for all others. This ranking applies to the calculation methodology for Default Energy Bid Curve. Cost-1, Negotiated-2, Price-3 is the default ranking, etc. If a negotiated default energy bid curve is established, Negotiated-1, Cost-2, Price-3. Price-based methodology requires 90 days of price data.
Note on CC3: caiso: Change this flag to Y for MSG resources
Note on DA3: caiso: Y - for participating EIM resource N - for non-participating EIM resource
Note on DD3: caiso: For JOU resources only. Leave blank for all others.
Note on DE3: caiso: For JOU resources only. Leave blank for all others.

## RAMPRATE
Resource ID | Segment Type | Segment Number | Operating Level | Worst Operational Ramp Rate | Best Operational Ramp Rate | Market Ramp Rate | Comment
0 | RAMP | 1
0 | RAMP | 2
Note on D2: caiso: Value in Segment 1 must equal the MIN_GEN (pmin)
Note on E2: caiso: Must be greater than 0 The "Worst" ramp rate in the highest two segments must be the same
Note on F2: caiso: Must be greater than or equal to 0.1 The "Best" ramp rate in the highest two segments must be the same
Note on D3: caiso: Value in highest segment must equal MAX_GEN (Pmin); up to 5 segments allowed
Note on E3: caiso: Must be greater than 0 The "Worst" ramp rate in the highest two segments must be the same
Note on F3: caiso: Must be greater than or equal to 0.1 The "Best" ramp rate in the highest two segments must be the same

## HEATRATE
Resource ID | Segment Type | Segment Number | Heat Rate Operating Level | Heat Rate | Heat Emission Rate | Average Cost | Comment
0 | HEAT | 1 | 0
0 | HEAT | 2 | 0
Note on D2: caiso: Value for segment 1 must equal MIN_GEN (Pmin)
Note on E2: caiso: Required for GAS resources
Note on D3: caiso: Value in highest segment must equal MAX_GEN (Pmax); up to 11 segments allowed
Note on E3: caiso: Required for GAS resources

## STARTUP
Resource ID | Segment Type | Segment Number | Registered Cooling Time | Start-Up Time | Start-Up Cost | Start-Up Aux | Start-Up Fuel | Comment
0 | STRT | 1 | 0 | 0
Note on C2: caiso: Up to 3 segments allowed - 1 for hot start, 2 for warm start, 3 for cold start You need only add additional segments if the startup time changes depending on how long the unit was off
Note on D2: caiso: Must be 0 in segment 1 (hot start)

## FORBIDDEN OPR REGION
Resource ID | Segment Type | Segment Number | Lower MW of Forbidden Region | Upper MW of Forbidden Region | Forbidden Region Crossing Time | Comment
0 | FRBD | 1
NOTE: Complete this tab only if a forbidden operating region exists

## REGULATION
Resource ID | Segment Type | Segment Number | Lower MW for Regulation | Higher MW for Regulation | Comment

## REG RAMP
Resource ID | Segment Type | Segment Number | Worst Regulation Ramp Rate | Best Regulation Ramp Rate | Market Regulation Ramp Rate | Comment

## OP RES RAMP
Resource ID | Segment Type | Segment Number | Worst Operating Res Ramp Rate | Best Operating Res Ramp Rate | Market Operating Res Ramp Rate | Comment

## HYBRID_COMPONENTS
Resource ID | Component_ID | FUEL_TYPE | GEN_TECH_TYPE | MAX_GEN | MIN_GEN | VER_NGR | FORECAST_SELECTION | DISP | MIN_CONT_ENERGY_LIMIT | MAX_CONT_ENERGY_LIMIT | ENERGY_EFFIC

## MSG_CONFIG
Resource ID | Configuration | Configuration Name | Maximum Generation Capacity | Minimum Generation Capacity | Minimum On Time | Minimum Off Time | Minimum Load Cost | Reserve Capacity: Spin | Reserve Capacity: Non-Spin | Configuration Startup | Configuration Shutdown | Startup Ramp Time | Startup Code Type | Certified for AS: Regulation Down | Certified for AS: Regulation Up | Certified for AS: Spin | Certified for AS DAM: Non-Spin | Certified for AS RTM: Non-Spin | Min Load Major Maintenance Adder | Energy OM Adder | Minimum Load O&M Adder | Start Up O&M Adder | RA Range Min | RA Range Max | Combustion Turbine Startup Count | Comment
RES_ID | CONFIG_ID | CONFIG_NAME | MAX_GEN | MIN_GEN | MIN_ON | MIN_OFF | MIN_LOAD_COST | RSRV_CAP_SPIN | RSRV_CAP_NSPIN | STARTUP_YN | SHUTDOWN_YN | STARTUP_RAMP_TIME | STARTUP_CD_TYPE | CERT_REG_DOWN | CERT_REG_UP | CERT_SPIN | CERT_NSPIN_DAM | CERT_NSPIN_RTM | ADDER_AMT | ENERGY_OM_ ADDER | ML_ADDER | SU_ADDER | RA_RANGE_MIN | RA_RANGE_MAX | IMPLIED_STRTS
0

## TRANSITION
Resource ID | Configuration ID_From | Configuration ID_To | Transition Cost | Transition Ramp Time | Notification Time | Max Daily Transitions | Market Max Daily Transitions | Transition Midpoint MW | Transition Midpoint Time | Implied Starts | Comment
0

## CONFIG_RAMP
Resource ID | Configuration ID | Segment Type | Segment Number | Operating Level | Worst Operational Ramp Rate | Best Operational Ramp Rate | Market Ramp Rate | Comment
0 | 0 | RAMP | 1
0 | 0 | RAMP | 2
Note on E2: caiso: Value in Segment 1 must equal the MIN_GEN (pmin) of the configuration
Note on F2: caiso: Must be greater than 0
Note on G2: caiso: Must be greater than or equal to 0.1
Note on E3: caiso: Value in highest segment must equal MAX_GEN (Pmin) of the configuration; up to 3 segments allowed per configuration
Note on F3: caiso: Must be greater than 0
Note on G3: caiso: Must be greater than or equal to 0.1

## CONFIG_HEAT
Resource ID | Configuration ID | Segment Type | Segment Number | Heat Rate Operating Level | Heat Rate | Heat Emission Rate | Average Cost | Comment
0 | 0 | HEAT | 1
0 | 0 | HEAT | 2
Note on E2: caiso: Value for segment 1 must equal MIN_GEN (Pmin) of configuration
Note on E3: caiso: Value in highest segment must equal MAX_GEN (Pmax) of configuration; up to 11 segments allowed per configuration

## CONFIG_STRT
Resource ID | Configuration ID | Segment Type | Segment Number | Registered Cooling Time | Start-Up Time | Start-Up Cost | Start-Up Aux | Start-Up Fuel | Comment
0 | 0 | STRT | 1 | 0
Note on D2: caiso: Up to 3 segments allowed. Segment 1 represents a hot start. 2, a warm start. 3, a cold start.

## CONFIG_REG
Resource ID | Configuration ID | Segment Type | Segment Number | Lower MW for Regulation | Higher MW for Regulation | Comment

## CONFIG_RREG
Resource ID | Configuration ID | Segment Type | Segment Number | Worst Regulation Ramp Rate | Best Regulation Ramp Rate | Market Regulation Ramp Rate | Comment

## CONFIG_ROPR
Resource ID | Configuration ID | Segment Type | Segment Number | Worst Operating Res Ramp Rate | Best Operating Res Ramp Rate | Market Operating Res Ramp Rate | Comment

## ELECTRIC_PRICE_HUB
Resource ID | Electric Pricing Hub | Weighting Factor

## GHG_EMISSION_RATE
Resource ID | State | GHG Emission Rate | GHG Compliance Obligation

## GEN_RES_AGGR
Aggregate Resource ID | Aggregate Resource Name | Child Resource ID | Child Resource Name | Maximum Child Generation Capacity